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Appendix A.3
Small-Pole Shelter

PROTECTICN PROVIDED

CAPACITY
Against fallout radiation: Protection Factor 1000
(PF 1000), if the shelter is covered with at least 3 ft of

The drawings and lists of materials given in these
earth. That is, a person in the open outside this shelter
will receive a gamma ray dose 1000 times greater than

instructions are for a I2-person shelter. For cach
additional occupant beyond 12, add | ft to the length
of the shelter room
he will receive inside the shelter. See drawings at the
end of Appendix A.3.

Against blast: This shelter is excellent for
preventing fatalities if it is built with strong expedient

blast doors; it is still quite good if built without them.
(These instructions are for fallout shelters. The
instructions for making blast doors and other
; essentials for adequate blast protection are given in
. Appendix D.)

(4

This shelter requires less work and materials per
occupant if its room is sized for about 24 persons,
because the entrances are the same regardless of the
length of the room. (To make the shelter room twice
as long, each of the horizontal, ladder-like braces on
the floor and near the ceiling of the room can be made
with two poles on a side, rather than one long pole on
a side.)

LR I 3

~ If the room is sized for more than 24 people
Apgainst fire: Excellent, if sufficiently distant ¢ ¢

from fires that produce carbon monoxide and toxic

smoke.

management and hygiene problems become more
difficult when it is occupied

WHERE PRACTICAL

For [2 people to live for many days in this shelter
without serious hardship, the benches and bunks
must be built w1th the dimensions and spacings given
. . tha il
In wooded areas with small trees, for builders
who have a saw (bow saw, crosscut, or chainsaw) and

digging tools. Anylocation is suitable if the necessary
poles may be obtained there

lll lllC lllubllaLlUll Ul uxau,na.}a lllubl UL avanlablu fOi'
making and suspending 12 expedient bedsheet-
hammocks that can be converted each day into 12

bedsheet-chairs.
For belowground, semiburied, or aboveground

, BUILDING INSTRUCTIONS
construction. {However, aboveground construction
requires the excavation and movement of so much

Study both of the two drawings (Fig. A.3.]
earth that it is not practical for 2-day construction by and A;3'2, at the. egd of Appel}qu A 32ar}drea(i
families with only hand tools.) ali of these instructions before beginning

work. CHECK OFF EACH STEP WHEN
COMPLETED.
FOR WHOM PRACTICAL 5
For families or other groups with most members
able to work hard 12 hours a day for 2 days. (Most
people do not realize how hard and long they can

By the time the shelter is finished, plan to have
work if given a strong incentive.)

completed (1) a ventilating pump (a KAP 24 in

wide and 36 in. high), essential except in cold

weather, and (2) the storage of at least 15 gallons
of water per occupant
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3.

Start to assemble the required materials. For
building a 12-person Small-Pole Shelter, the
materials are:

® Green poles. No pole should have a
small end of less diameter than the minimum
diameter specified for its use by Figs. A.3.1 and
A.3.2. The table below lists the number and sizes

of poles needed to build a 12-person Small-Pole
Shelter.

Minimum Diameter Number of S
Pole Length of Small End Poles Required Width
6 ft 2 in. S in. 2 -
3ft1in 5 in. 12 -
2ft4in” 5 in. 12 -
10 ft 8 in. 5 in. - 7 ft
8 ft 8 in, 5 in. - 7 ft
10 ft 6 in. 4 in. 4 -
71t 2 in, 4 in, - 47 ft
5ft6in 4 in. 12 -
6 ft 10 in. 4 in. - 3ft
6 ft 3 in. 4 in. 8 -
2ft6in” 4 in. 16 -
2 ft 3in, 4 in, 4 -
5ft2in. 3% in, - 8 ft
3£t 10 in. 3% in, 4 36 ft
10 ft 2 in. 12 -

“To be shortened to fit for crossbraces.
*Width equals the distance measured across a single layer of poles

when a sufficient number of poles are laid on the ground side by side

and
ang

H + vor rectanarnlar oran
touching, to cover a rectangular area.

‘For supports during construction.

NOTE: The above list does not include flooring materials, to be

placed between the poles of the ladder-like braces on the earth floor.

® Rainproofing materials: Preferably one
100-ft roll, 12 ft wide, of 6-mil polyethylene. The
minimum amount needed is 200 sq. ft. of 4-mil
polyethylene, or 200 sq. ft of other waterproof
plastic such as tablecloths, shower curtains,
and/ or vinyl floor covering. Also include 100 ft
of sticks for use in drainage ditch drains (Y-in.
diameter, any lengths).

® Nails, wire, and/ or cord: Ten pounds of
40-penny nails plus 4 pounds of 16-penny nails
are ideal. However, 7 pounds of 16-penny nails
can serve,

® Boards for benches and overhead bunks,
if bedsheet-hammocks are not to be used.
(Boards are desirable, but not essential; small
poles can be used instead.) 2 X 4-in. boards—70
feet for frames (or use 3-in.-diameter poles). 1 X
8-in. boards—100 feet (or use 1- to 2-in.-diameter
poles).

® Materials to build a homemade ventilat-
ing pump (a KAP 24 in. wide and 36 in. high—see
Appendix B) and to store at least 15 gallons of
water per occupant (see Chapter 8).

Desirable muscle-powered tools for building a
12-person, Small-Pole Shelter are listed below.
(Most builders have succeeded without having
this many tools. A backhoe, chain saws, and

other mechanized équipment would be helpful,
but not essential.)

Tools Quantity

Ax, long-handle 2
Bow-saw, 28-in. 2
(or 2-man crosscut saw) |
Pick 2
Shovel, long-handle 3
Claw hammer 2
File, 10-in. I
1

Steel tape, 10-ft

5.

10.

(Also useful: a 50-ft steel tape and 2 hatchets)

To help drain the floor, locate the shelter so that
the original ground level at the entrance is about
12 inches lower than the original ground level at
the far end of the shelter—unless the location is
in a very flat area.

. Stake out the trench for the entire shelter. Even

in very firm ground, if the illustrated 12-person
shelter is being built, make the excavation at the
surface 9 ft 8 in. wide and 18 ft long (3 ft longer
than the entire length of the wooden shelter). The
sloping sides of the excavation are necessary,
even in very firm earth, to provide adequate
space for backfilling and tamping. (The trench
illustrated in Fig. A.3.1 is 6 ft 4 in. deep, to
minimize work when providing only for excellent
fallout protection. For improved blast protec-
tion, the trench should be at least 7 ft deep.)

Check the squareness of the staked trench outline
by making its diagonals equal.

. Clear all brush, tall grass, and the like from the

ground, to a distance of 10 ft all around the
staked location—so that later you can easily
shovel loose earth back onto the roof.

I the ground is unstable, excavate with sides that
are appropriately less steep.

When digging the trench for the shelter, use a
measuring stick 7 ft 8 in. long (the minimum
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1.

12.

13.

14.

15.

16.

17.

bottom width) to repeatedly check the excava-
tion width.

When digging with a shovel, pile the earth dug
from near ground level about 10 ftaway from the
edges of the excavation. Earth dug from 5 or 6 ft
below ground level then can easily be piled on the
surface only 1 to 5 ft from the edge of the
excavation.

Finish the bottom of the excavation so that it
slopes vertically '/; in. per foot of length toward
the entrance, and also slopes toward the central
drain ditch. (Later, sticks covered with porous
fabric should be placed in the ditches, to serve
like a crushed-rock drain leading to a sump.)

While some persons are excavating, others
should be cutting green poles and hauling them
to the site. Cut poles that have tops no smaller
than the specified diameters for each type of pole
{not including the bark).

For ease in handling poles, select wall and roof
poles with top diameters no more than 50%

larger than the specified minimum diameters.

Sort the poles by size and lay all poles of the same
size together, near the excavation.

Before the excavation is completed, start
building the ladder-like, horizontal braces of the
shelter frame. Construct these braces on smooth
ground near the excavation. Place two.straight
poles, each 10 ft 6 in. long (with small-end
diameters of 4 in.), on smooth ground, parallel
and 6 ft 2 in. apart. Hold these poles securely so
by driving two pairs of stakes into the ground so
that they just touch the outsides of the two long
poles. Each of the four stakes should be located
about one foot from the end of a pole. To keep
the 10 ft 6 in. poles from being rotated during the
next step, nail two boards or small poles across
them perpendicularly as temporary braces,

ahonut 4 ft anart
apoul 4 1t apart.

Then with an ax or hatchet, slightly flatten the
inner sides of the two poles at the spots where the
ends of the 6 cross-brace poles will be nailed.
Next, saw each cross-brace pole to the length
required to fit snugly into its place. Finally,
toenail each cross-brace pole in place, preferably
with two 40-penny nails in each end.

Place the lower, ladder-like horizontal brace of
the main room on the floor of the completed
excavation.

18.

19.

20.

21.

22.

23.

24,
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Build the frame of the main room. Near the four
corners of the room, secure four of its wall poles
in their final vertical positions by nailing, wiring,
or tying temporary brace-poles to the inner sides
of these 4 wall poles and to the inner sides of the
two long poles of the ladder-like horizontal brace
on the bottom of the excavation. To keep the two
pairs of vertical wall poles exactly 6 ft 2in.apart
until the upper ladder-like horizontal brace is
secured in its place, nail a temporary horizontal
brace across each pair of vertical poles, about 1 ft
below their tops.

To support the upper ladder-like horizontal
brace, nail blocks to the inner sides of the four
vertical wall poles, as shown in the lower right-
hand corner of the pictorial view, Fig. A.3.2. If
you have large nails, use a block about 3 in. thick
and 6 in. long, preferably cut from a green, 4-in.-
diameter pole.

In the finished shelter, DO NOT leave any
vertical support poles under the long poles of the
upper ladder-like horizontal brace; to do so
would seriously reduce the usable space along the
walls for benches, bunks, and occupants.

While some workers are building the frame of the
main room, other workers should make the four
ladder-like horizontal braces for the two en-
trances, then make the complete entrances. To
keep the ladder-like horizontal braces square
during construction and back-filling, nail a
temporary diagonal brace across each one.

When the four wall poles and the two ladder-like

horizontal braces of the main room are in place,
put the remaining vertical wall poles in place,
touching each other, until all walls are com-
pleted. When placing the wall poles, keep them
vertical by alternately putting a butt and a top
end uppermost. Wall poles can be held in
position by backfilling and tamping about a foot

of earth against their lower ends, or they can be
wired in position until backfilled.

Be sure to use the two 5-in.-diameter poles (6 ft 2
in. long) by placing one next to the top and the
other next to the bottom of each of the main
doorways to the room. Study the drawings. Use
braces, each 2 ft. 3 in. long, to hold apart the top
and bottom of each doorway—thus making sure
that a 24-in.-wide air pump can swing in either
doorway.

To prevenf earth from coming through the
cracks between wall poles, cover the walls with
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25.

26.

27.

28.

29.

cloth, plastic, rugs, roofing, or even cardboard. If
none of these are available, use sticks, twigs, or
grass to cover the wider cracks.

After all horizontal bracing and vertical wall
poles are in place, begin backfilling, putting earth
between the walls and trench sides. Pay particu-
lar attention to the order of filling. The earth fill
behind all the walls must be brought up quite
evenly, so that the earth fill behind one side is no
more than 12 in. higher at any one time than the
earth on the opposite side. Lightly tamp the earth
fill in 6-in. layers. A pole makes a good tamper;
do not use a mechanical tamper.

Next, lay the roof poles side by side, touching
each other on top of the wall poles, Cover at least
the larger cracks with plastic, roofing, boards, or
sticks to keep carth from falling through. If the
earth is sandy, cover the whole roof with some
material such as bedsheets or plastic to keep
sand from running through the cracks.

CAUTION: Do not try to rainproof this flat roof
and simply cover it with earth. If you do, water
will seep straight through the loose earth cover,
puddle on the flat roofing material, and leak
through the joints between pieces of roofing
material or through small holes.

Mound earth over the shelter, piling it about 15
in. deep along the centerline of the roof and
sloping it toward the sides of the roof, so that the
earth is only about 2 in. deep over the ends of the
roof poles. (Preparatory to mounding earth onto
the roof, place gradestakes in position so you will
be able to know the locations and depths of roof
poles as you cover them.) Continue these slopes
to two side drainage ditches. Smooth this
mounded earth with a rake or stick and remove
any sticks or rocks likely to puncture the
rainproof roofing material to be laid on it.

Place rainproofing material on top of the
smooth, mounded earth—as shownin sections of
the drawings in Fig. A.3.1—to make a “buried
roof.” Plastic film, such as 4-mil polyethylene, is
preferable. Roofing material, plastic shower
curtains and tablecloths, or canvas can also be
used. Be sure to overlap adjoining pieces.

Place the rest of the earth cover over the shelter,
being sure that the corners of the shelter have at
least 2", ft of earth over them. Mound the dirt,
smoothing its surface so that water will tend to
run off to the surface drainage ditches which

30.

31

32.

33.

34.

35.

should be dug all around the edges of the
mounded earth.

Build the benches and overhead bunks. If boards
are available, use them; if not, use small, straight
poles. On each side, build a row of benches and
bunks 9 ft long, centered in the shelter. In order
to use the shelter space to the greatest advantage,
make the heights and widths of the benches and
bunks the same as the thoroughly tested heights
(14 in.and 4 ft 5in.) and widths (16 in. and 24 in.)
given by Fig. A.3.2. Also be sure to space their
vertical supports 3 ft apart—so two adults can sit
between each pair of vertical bunk supports.

Narrow the ends of the overhead bunks so that
the aisle between them is about 28 in. wide for a
distance of 38 in. from each doorway. This allows
room for installation and operation of an
expedient air pump (a KAP) for prevention of
dangerous overheating in warm weather.

Place a canopy (open. on all sides) over each
entrance, to minimize the entry of sand-like
fallout particles or rain.

To improve the floor, lay small poles between the
lower brace poles, so that the floor is approxi-
mately level. Or, use sticks covered with scrap
boards.

Fill all available water containers, including pits

which have been dug and lined with plastic, then
roofed with available materials. If possible,
disinfect all water stored in expedient containers,
using one scant teaspoon of a chlorine bleach,
such as Clorox, for each 10 gallons of water.
Even if only muddy water is available, store it. If

to boil water when needed.

As time and materials permit, continue to

improve your chances of surviving by doing as

many of the following things as possible;

(1) Make a homemade fallout meter, as de-
scribed in Appendix C.

(2) Make expedient lights.

(3) Make and hang expedient

bedsheet-
hammocks and bedsheet-chairs. -

EXPEDIENT VENTILATION AND COOLING

(Those workers who are to work only on the

shelter itself, if pushed for time, need not read this
section before beginning their work.)

[ SN
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Install a KAP (one that is 24 in. wide and 36 in.
high) near the top of the doorway through which you
can feel air naturally flowing into the shelter room at
that time. (If the direction of the natural air flow
changes, move the KAP to the other opening.) To
enable the KAP to efficiently pump fresh air from the
outdoors all the way through the shelter, block the
lower half of the doorway in which the KAP is
installed with a quickly removable covering, suchasa
plastic-covered frame made of sticks. Be sure to
connect the KAP’s pullcord only 11 in. below its
hinge line. This prevents excessive arm motions
which would cause unnecessary fatigue.

143

In windy or cold weather, control the natural
flow of air through the shelter by hanging adjustable
curtains in the doorways at both ends, and/or by
making and using trapdoors on the tops of the
vertical entryways. For adjustable curtains, use
pieces of plastic, each with a supporting stick
attached to its upper edge. This allows for different-
sized openings in the doorways: (1) an opening under
the lower edge of the adjustable curtain at the air-
intake end of the room, and (2) an opening over the
top of the curtain at the air-exhaust end of the room.
In cold weather, this arrangement usually will
provide adequate chimney-type ventilation for the
shelter without using an air pump.
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